## 12262 - Dell Server
Attribute Set | Manufacturer | Model | Serial Number | Condition | CPU Qty | CPU | HDD Capacity | TOTAL RAM | RAM Qty | RAM Size | RAM Density | RAM Type | RAM Speed | IPMI | RAID | Optical | Power | Comments | Cosmetic Condition | Functional Condition | Data Purge | Description | Device Type | Dram | File Cleanup | License | Power Supplies | Software Version | Memory Type | Port Qty (Ethernet) | Ports (Modules) | Status (Reset) | UID | SKU | Location
Server | DELL | POWEREDGE R630 | JBRXHH2 | USED | 2 | E5-2690 V4 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [13 empty] | 2 X QLE2560 8GB 1PORT | Factory Reset (Firmware/BIOS) | EXB079717D | 776 | RE-4217
Server | DELL | POWEREDGE R630 | JBRYHH2 | USED | 2 | E5-2690 V4 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [13 empty] | 2 X QLE2560 8GB 1PORT | Factory Reset (Firmware/BIOS) | EX7A40BE43 | 776 | RE-4217
Server | DELL | POWEREDGE R630 | JBS7JH2 | USED | 2 | E5-2690 V4 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [13 empty] | 2 X QLE2560 8GB 1PORT | Factory Reset (Firmware/BIOS) | EX99DD65CB | 776 | RE-4217
Server | DELL | POWEREDGE R630 | 2C8PV52 | USED | 2 | E5-2660 V3 |  | 32GB | 2 | 16GB | 2RX4 | PC4 | 2133P | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [13 empty] | 2 X QLE2560 8GB 1PORT | Factory Reset (Firmware/BIOS) | EXDA6EF253 | 776 | RE-4217
Server | DELL | POWEREDGE R630 | JBS1JH2 | USED | 2 | E5-2690 V4 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [13 empty] | 2 X QLE2560 8GB 1PORT | Factory Reset (Firmware/BIOS) | EXD8B697D9 | 776 | RE-4217
Server | DELL | POWEREDGE R630 | DWL8GK2 | USED | 2 | E5-2640 V4 |  | 32GB | 2 | 16GB | 2RX8 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [13 empty] | 2 X QLE2562 8GB 2 PORT | Factory Reset (Firmware/BIOS) | EX93A4CF15 | 776 | RE-4217
Server | DELL | POWEREDGE R630 | GPN7RP2 | USED | 2 | E5-2660 V3 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE2560 8GB 1PORT | Factory Reset (Firmware/BIOS) | EX3F17B19A | 776 | RE-4217
Server | DELL | POWEREDGE R630 | GPN6RP2 | USED | 2 | E5-2660 V3 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE2560 8GB 1PORT | Factory Reset (Firmware/BIOS) | EX4A4D79EE | 776 | RE-4217
Server | DELL | POWEREDGE R630 | 2C1SV52 | USED | 2 | E5-2660 V3 |  | 64GB | 4 | 16GB | 2RX4 | PC4 | 2133P | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE2560 8GB 1PORT | Factory Reset (Firmware/BIOS) | EX19A789A2 | 776 | RE-4217
Server | DELL | POWEREDGE R630 | GPP8RP2 | USED | 2 | E5-2660 V3 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE2560 8GB 1PORT | Factory Reset (Firmware/BIOS) | EX62EAA423 | 776 | RE-4217
Server | DELL | POWEREDGE R630 | GPP5RP2 | USED | 2 | E5-2660 V3 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE2560 8GB 1PORT | Factory Reset (Firmware/BIOS) | EXB0CA8397 | 776 | RE-4217
Server | DELL | POWEREDGE R630 | GPP4RP2 | USED | 2 | E5-2660 V3 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE2560 8GB 1PORT | Factory Reset (Firmware/BIOS) | EXFB0D6002 | 776 | RE-4217
Server | DELL | POWEREDGE R630 | GPP6RP2 | USED | 2 | E5-2660 V3 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE2560 8GB 1PORT | Factory Reset (Firmware/BIOS) | EXF507AF2C | 776 | RE-4217
Server | DELL | POWEREDGE R630 | 2C0TV52 | USED | 2 | E5-2660 V3 |  | 64GB | 4 | 16GB | 2RX4 | PC4 | 2133P | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE2560 8GB 1PORT | Factory Reset (Firmware/BIOS) | EX3E641E61 | 776 | RE-4217
Server | DELL | poweredge r730 | 9PMTWK2 | USED | 2 | E5-2680 V4 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X1100W | [13 empty] | 1 X QLE2662 16GB 2 PORT // NVIDIA TESLA K80 | Factory Reset (Firmware/BIOS) | EX045091FB | 774 | RE-4217
Server | DELL | poweredge r730 | 9PM4JK2 | USED | 2 | E5-2680 V4 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X1100W | [13 empty] | 1 X QLE2662 16GB 2 PORT // NVIDIA TESLA K80 | Factory Reset (Firmware/BIOS) | EX0765493C | 774 | RE-4217
Server | DELL | poweredge r730 | 9PM3JK2 | USED | 2 | E5-2680 V4 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X1100W | [13 empty] | 1 X QLE2662 16GB 2 PORT // NVIDIA TESLA K80 | Factory Reset (Firmware/BIOS) | EXEFA4D74F | 774 | RE-4217
Server | DELL | poweredge r730 | 9PMSWK2 | USED | 2 | E5-2680 V4 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X1100W | [13 empty] | 1 X QLE2662 16GB 2 PORT // NVIDIA TESLA K80 | Factory Reset (Firmware/BIOS) | EX79B3FCDE | 774 | RE-4217
Server | DELL | poweredge r730 | 9PMVWK2 | USED | 2 | E5-2680 V4 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X1100W | [13 empty] | 1 X QLE2662 16GB 2 PORT // NVIDIA TESLA K80 | Factory Reset (Firmware/BIOS) | EXC1EA6F8A | 774 | RE-4217
Server | DELL | poweredge r730 | 9PLVWK2 | USED | 2 | E5-2680 V4 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X1100W | [13 empty] | 1 X QLE2662 16GB 2 PORT // NVIDIA TESLA K80 | Factory Reset (Firmware/BIOS) | EXBE1A2AC4 | 774 | RE-4217
Server | DELL | poweredge r730 | 9PN2JK2 | USED | 2 | E5-2680 V4 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X1100W | [13 empty] | 1 X QLE2662 16GB 2 PORT // NVIDIA TESLA K80 | Factory Reset (Firmware/BIOS) | EX9B616BE3 | 774 | RE-4217
Server | DELL | poweredge r730 | 9PM2JK2 | USED | 2 | E5-2680 V4 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X1100W | [13 empty] | 1 X QLE2662 16GB 2 PORT // NVIDIA TESLA K80 | Factory Reset (Firmware/BIOS) | EXBEFC343D | 774 | RE-4217
Server | DELL | poweredge r730 | 6TDRPD2 | USED | 2 | E5-2640 V4 |  | 32GB | 4 | 8GB | 1Rx8 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [13 empty] | 2 X QLE2562 8GB 2 PORT | Factory Reset (Firmware/BIOS) | EX6A5E0363 | 774 | RE-4217
Server | DELL | POWEREDGE R630 | 3V7PXK2 | USED | 2 | E5-2690 V4 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | iDRAC8 Enterprise | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE 2560 8GB 1 PORT | Factory Reset (Firmware/BIOS) | EXCC6B5759 | 776 | RE-4217
Server | DELL | POWEREDGE R630 | 3V8MXK2 | USED | 2 | E5-2690 V4 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | iDRAC8 Enterprise | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE 2560 8GB 1 PORT | Factory Reset (Firmware/BIOS) | EX0259448C | 776 | RE-4217
Server | DELL | POWEREDGE R630 | 3V6QXK2 | USED | 2 | E5-2690 V4 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE 2560 8GB 1 PORT | Factory Reset (Firmware/BIOS) | EX42FC7C5F | 776 | RE-4217
Server | DELL | POWEREDGE R630 | 3V6MXK2 | USED | 2 | E5-2690 V4 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE 2560 8GB 1 PORT | Factory Reset (Firmware/BIOS) | EXF48C06FA | 776 | RE-4217
Server | DELL | POWEREDGE R630 | 3V6LXK2 | USED | 2 | E5-2690 V4 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE 2560 8GB 1 PORT | Factory Reset (Firmware/BIOS) | EX1476A7D4 | 776 | RE-4217
Server | DELL | POWEREDGE R630 | J1QMXK2 | USED | 2 | E5-2690 V4 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE 2560 8GB 1 PORT | Factory Reset (Firmware/BIOS) | EX25D473DE | 776 | RE-4217
Server | DELL | POWEREDGE R630 | J1RNXK2 | USED | 2 | E5-2690 V4 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE 2560 8GB 1 PORT | Factory Reset (Firmware/BIOS) | EX475A9483 | 776 | RE-4217
Server | DELL | POWEREDGE R630 | 3V4QXK2 | USED | 2 | E5-2690 V4 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE 2560 8GB 1 PORT | Factory Reset (Firmware/BIOS) | EXD7E5B2C2 | 776 | RE-4217
Server | DELL | POWEREDGE R630 | 3V5LXK2 | USED | 2 | E5-2690 V4 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | iDRAC8 Enterprise | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE 2560 8GB 1 PORT | Factory Reset (Firmware/BIOS) | EX6F89286C | 776 | RE-4217
Server | DELL | POWEREDGE R630 | JTWR382 | USED | 2 | E5-2660 V3 |  | 32GB | 2 | 16GB | 2RX4 | PC4 | 2133P | iDRAC8 Enterprise | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE 2560 8GB 1 PORT | Factory Reset (Firmware/BIOS) | EX7882E241 | 776 | RE-4217
Server | DELL | POWEREDGE R630 | JTWQ482 | USED | 2 | E5-2660 V3 |  | 32GB | 2 | 16GB | 2RX4 | PC4 | 2133P | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE 2560 8GB 1 PORT | Factory Reset (Firmware/BIOS) | EX9582FF98 | 776 | RE-4217
Server | DELL | POWEREDGE R630 | JTWV382 | USED | 2 | E5-2660 V3 |  | 32GB | 2 | 16GB | 2RX4 | PC4 | 2133P | iDRAC8 Enterprise | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE 2560 8GB 1 PORT | Factory Reset (Firmware/BIOS) | EXC535BC22 | 776 | RE-4217
Server | DELL | POWEREDGE R630 | 1C2FFB2 | USED | 2 | E5-2660 V3 |  | 32GB | 2 | 16GB | 2RX4 | PC4 | 2133P | iDRAC8 Enterprise | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE 2560 8GB 1 PORT // 1 X QLE2560 8Gb Channel Adapter | Factory Reset (Firmware/BIOS) | EXA12DFAE4 | 776 | RE-4217
Server | DELL | poweredge r730 | B06BJH2 | USED | 2 | E5-2640 V4 |  | 64GB | 4 | 16GB | 2RX8 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [13 empty] | 2 X X520-2 PCIE | Factory Reset (Firmware/BIOS) | EX843A29EE | 774 | RE-4217
Server | DELL | POWEREDGE R630 | GPN3RP2 | USED | 2 | E5-2660 V3 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [13 empty] | 2 X QLE 2560 8GB 1 PORT | Factory Reset (Firmware/BIOS) | EX6CA053BC | 776 | RE-4217
Server | DELL | POWEREDGE R630 | 10NFHB2 | USED | 2 | E5-2660 V3 |  | 32GB | 2 | 16GB | 2RX4 | PC4 | 2133P | IDRAC 9 ENTERPRISE | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE 2560 8GB 1 PORT | Factory Reset (Firmware/BIOS) | EXEF88AC79 | 776 | RE-4217
Server | DELL | POWEREDGE R630 | 9CY7XG2 | USED | 2 | E5-2660 V3 |  | 32GB | 2 | 16GB | 2RX8 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE 2560 8GB 1 PORT | Factory Reset (Firmware/BIOS) | EX265A5F59 | 776 | RE-4217
Server | DELL | POWEREDGE R630 | 9CXJXG2 | USED | 2 | E5-2660 V3 |  | 32GB | 2 | 16GB | 2RX8 | PC4 | 2400T | IDRAC 8 ENTERPRISE | H730 | MULTI | 2X750W | [12 empty] | 2 | 2 X QLE 2560 8GB 1 PORT | Factory Reset (Firmware/BIOS) | EX343C49B8 | 776 | RE-4217