## 13016 - HDD - 1TB plus SAS
Attribute Set | Manufacturer | Model | Serial Number | Condition | Grade | Form Factor | Device Type | Hard Drive Capacity | GB | Erasure Results | Notes | UID | SKU | Location
HDD | HGST | HUC101812CSS200 | 0EH3TDBL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX9568B556 | 3444 | RE-4477
HDD | TOSHIBA | AL15SEB120NY | 31N0A1YHFQVF | USED | A | 2.5 inch | 2.5 SAS 10000 | 1.2TB | 1200 | PASS |  | EXCE30F717 | 6446 | RE-4477
HDD | TOSHIBA | AL15SEB120NY | 31N0A1PVFQVF | USED | A | 2.5 inch | 2.5 SAS 10000 | 1.2TB | 1200 | PASS |  | EX30DFC9C0 | 6446 | RE-4477
HDD | TOSHIBA | AL15SEB120NY | 31N0A20GFQVF | USED | A | 2.5 inch | 2.5 SAS 10000 | 1.2TB | 1200 | PASS |  | EXD68D3616 | 6446 | RE-4477
HDD | TOSHIBA | AL15SEB120NY | 31N0A209FQVF | USED | A | 2.5 inch | 2.5 SAS 10000 | 1.2TB | 1200 | PASS |  | EX62C1E50B | 6446 | RE-4477
HDD | TOSHIBA | AL15SEB120NY | 31N0A207FQVF | USED | A | 2.5 inch | 2.5 SAS 10000 | 1.2TB | 1200 | PASS |  | EXC7FED7AE | 6446 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EH39LVL | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX2BB75D29 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EH3R39L | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX72B39588 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EH3T28L | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXA14B04E4 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYYJVL | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX99A5A0B8 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYZ05L | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX590B7910 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYYNLL | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXCD62F284 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYZ1HL | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX4C6E1192 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYYW8L | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX63E3FDFC | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYYSRL | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX7F0B4AFE | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGWB4LL | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXE680146E | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYZ31L | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX69E4001B | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYGE4L | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXE2885AA7 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYZ24L | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX233ECEBF | 3444 | RE-4477
HDD | TOSHIBA | AL15SEB18EQ | 41D0A03XF4VR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXE0CD7BBE | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41E0A0DQF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX4562284C | 9985 | RE-4462
HDD | SEAGATE | ST1800MM0129 | WBN77BJX | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX81232CEB | 5852 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A02XF4VR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX7D10AFE6 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41E0A0DXF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXCBABF699 | 9985 | RE-4462
HDD | SEAGATE | ST1800MM0129 | WBN5LGYT | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXF98F928A | 5852 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0R2F4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXE661870A | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0MFF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXDA55B448 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0PXF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXBA3CFC2C | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A10RF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX0C23AD11 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A108F4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX54C54CA1 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41G0A078F4VR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXE6AEFA4E | 9985 | RE-4462
HDD | SEAGATE | ST1800MM0129 | WBN73EC4 | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX99D988F3 | 5852 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A05GF4VR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXBF9B6AC6 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0YBF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXBB25C31F | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A13FF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX70E0FDAA | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41E0A09LF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXD13CA457 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0QKF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXD8F57599 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0YVF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX0D05ABA9 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0Q6F4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX3F34385C | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0NVF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXDE319B91 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0NKF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXE7A1379D | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41F0A01JF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX5BD1BAB6 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0VUF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXB5DAACC2 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0P5F4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXDC024533 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41E0A0KPF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX0742319D | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41E0A00WF4VR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX1B76C31B | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0NBF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXB00B0111 | 9985 | RE-4462
HDD | SEAGATE | ST1800MM0129 | WBN6Q0B9 | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXC19F22E2 | 5852 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A104F4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX164486A3 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0N0F4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXD12CEC4A | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 64G0A0GZF4VR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX70F39E53 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 55S0A07KF4VR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXED543605 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0R1F4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX90AA16E0 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | X3F0A0F1F4VR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXF3B6E88E | 9985 | RE-4462
HDD | TOSHIBA | AL14SEB12EQ | X6D0A06NF0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX60E2C8C9 | 7642 | RE-4477
HDD | TOSHIBA | AL14SEB12EQ | X6E0A02XF0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX586C4244 | 7642 | RE-4477
HDD | TOSHIBA | AL14SEB12EQ | X6E0A0CVF0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX91E88B03 | 7642 | RE-4477
HDD | TOSHIBA | AL14SEB12EQ | X6B0A067F0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXC775890E | 7642 | RE-4477
HDD | TOSHIBA | AL14SEB12EQ | X6D0A029F0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXBB28BCA4 | 7642 | RE-4477
HDD | TOSHIBA | AL14SEB12EQ | X6D0A03VF0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXC7082ED9 | 7642 | RE-4477
HDD | TOSHIBA | AL15SEB18EQ | 41E0A0ELF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX773C155B | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A04TF4VR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXCDBF4183 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41F0A094F4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXDCBA8CEB | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0Y3F4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX81AB7AAF | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41F0A09ZF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX3C743824 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41E0A0FMF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXB5FA6D04 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41F0A04SF4VR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX97407FE0 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A056F4VR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXA85E09F3 | 9985 | RE-4462
HDD | SEAGATE | ST1800MM0129 | WBN77B52 | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXBF35586D | 5852 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0PSF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXDD61E0E4 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0PDF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXB0ECF1C3 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0PGF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX3C87BAF1 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A10XF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXC334907E | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0Z5F4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXEF5C4774 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0YJF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX29229C98 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41B0A049F4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX121C5F76 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0Y4F4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX045F5A52 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0QWF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXC3F8659D | 9985 | RE-4462
HDD | NETAPP | X343_TA15E1T8A10 | 41D0A118F4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXF9BF33ED | 15852 | RE-4462
HDD | SEAGATE | ST1800MM0129 | WBN4ALQV | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX61E7E876 | 5852 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A11EF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX5FFCCA09 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A13PF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX0A14C50D | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0ZFF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXD6030354 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A106F4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX7D059E9A | 9985 | RE-4462
HDD | HGST | HUC101812CSS200 | 0EG5JPDM | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXFC0AF454 | 3444 | RE-4477
HDD | TOSHIBA | AL14SEB12EQ | X6B0A0K8F0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX2BF7AB94 | 7642 | RE-4477
HDD | TOSHIBA | AL14SEB12EQ | X6C0A072F0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX04499651 | 7642 | RE-4477
HDD | TOSHIBA | AL14SEB12EQ | X6D0A03KF0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX4D846650 | 7642 | RE-4477
HDD | TOSHIBA | AL14SEB12EQ | X6E0A0D6F0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX20418ED4 | 7642 | RE-4477
HDD | HGST | HUC101812CS4204 | 06HUEJUZ | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX5B7B8454 | 6948 | RE-4477
HDD | HGST | HUC101812CS4204 | 06HUY2TZ | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX421AE49D | 6948 | RE-4477
HDD | TOSHIBA | AL14SEB12EQ | X6C0A05SF0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX5CF2D652 | 7642 | RE-4477
HDD | TOSHIBA | AL14SEB12EQ | X6C0A04SF0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX97B52F0D | 7642 | RE-4477
HDD | TOSHIBA | AL14SEB12EQ | X6F0A00JF0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX22AA0808 | 7642 | RE-4477
HDD | TOSHIBA | AL14SEB12EQ | X6G0A06ZF0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX221C7354 | 7642 | RE-4477
HDD | TOSHIBA | AL14SEB12EQ | X6D0A04BF0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXE2737368 | 7642 | RE-4477
HDD | TOSHIBA | AL14SEB12EQ | X6B0A07JF0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXA63F318E | 7642 | RE-4477
HDD | TOSHIBA | AL14SEB12EQ | X6B0A096F0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXA87252B5 | 7642 | RE-4477
HDD | TOSHIBA | AL14SEB12EQ | X6E0A086F0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX0EF023FF | 7642 | RE-4477
HDD | TOSHIBA | AL15SEB18EQ | X6E0A04DF0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX7D06D026 | 9985 | RE-4477
HDD | TOSHIBA | AL15SEB18EQ | X6B0A0JQF0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX186ADD8F | 9985 | RE-4477
HDD | TOSHIBA | AL15SEB18EQ | X6B0A0JTF0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXB7DB98F6 | 9985 | RE-4477
HDD | TOSHIBA | AL15SEB18EQ | X6E0A08ZF0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX98590B76 | 9985 | RE-4477
HDD | TOSHIBA | AL14SEB12EQ | X6E0A098F0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX7EAFB9F5 | 7642 | RE-4477
HDD | TOSHIBA | AL14SEB12EQ | X6D0A0KFF0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXE9DD1903 | 7642 | RE-4477
HDD | TOSHIBA | AL14SEB12EQ | X6E0A032F0AD | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX60CB58B3 | 7642 | RE-4477
HDD | HGST | HUC101812CS4204 | 06HWG3RZ | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXB0513503 | 6948 | RE-4477
HDD | HGST | HUC101812CS4204 | 06HW29JA | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXC72DC074 | 6948 | RE-4477
HDD | HGST | HUC101812CS4204 | 06HWG77Z | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX4E425F10 | 6948 | RE-4477
HDD | HGST | HUC101812CS4204 | 06HWG7MZ | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX44BA0095 | 6948 | RE-4477
HDD | HGST | HUC101812CS4204 | 06HUYAMZ | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX87A5CD62 | 6948 | RE-4477
HDD | HGST | HUC101812CS4204 | 06HUYAWZ | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXE921218C | 6948 | RE-4477
HDD | HGST | HUC101812CS4204 | 06HWG3WZ | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX026864DB | 6948 | RE-4477
HDD | HGST | HUC101812CS4204 | 06HWEGEZ | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX25C12AA8 | 6948 | RE-4477
HDD | HGST | HUC101812CS4204 | 06HWELAZ | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX2A9C9C78 | 6948 | RE-4477
HDD | HGST | HUC101812CS4204 | 06HW28RA | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX1D00C03E | 6948 | RE-4477
HDD | TOSHIBA | AL15SEB18EQ | 41E0A0DDF4UR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX1D740146 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 65L0A04MF4VR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX90DB16CC | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41G0A06VF4VR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX845BD028 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A04PF4VR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX09DF0D25 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41E0A0KNF4UR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXECEFE04D | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41E0A0D3F4UR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXFAFE94D9 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41E0A0DTF4UR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX5B837C47 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41E0A0KJF4UR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXF535FE88 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A02WF4VR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXE89E8A9A | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A123F4UR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX65222432 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41E0A0DHF4UR | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX4D89281A | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A04LF4VR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXE785836A | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41E0A0E9F4UR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX0171E473 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41E0A0EYF4UR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXF888B38B | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41E0A00NF4VR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX999C5860 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0YPF4UR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX6029812A | 9985 | RE-4462
HDD | NETAPP | X343_TA15E1T8A10 | 41D0A0YKF4UR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXD0EE8B26 | 15852 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0YNF4UR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXAE493CE8 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A059F4VR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX73249311 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41F0A00PF4UR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX5688F6CD | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A0QPF4UR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX5351978D | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A052F4VR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX7174C211 | 9985 | RE-4462
HDD | TOSHIBA | AL15SEB18EQ | 41D0A030F4VR | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX8C9A58F7 | 9985 | RE-4462
HDD | HGST | HUC101812CSS200 | 0EG5M80M | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX82F87DA9 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYYZXL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX462C8D8B | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 06GK3M9Z | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX0AC310FC | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 06GK0N3Z | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXFE8FA3CC | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGWB1HL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX029B5557 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 06GK3LPZ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX17055D2F | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EJDS5GL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX0BEF12DC | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EJDSWXL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX6AFD2CAA | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EJDPUML | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXEA4378F6 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 06GK3JMZ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX0B98CDC9 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EJDKG4L | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX1E60B59F | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EH2KDEL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX68F3AA7D | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EH3J30L | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX180E67B8 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EH39R8L | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXB651B193 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EH3GJML | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXB813E5A1 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EH3VESL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX73FA8D49 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EH39PJL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX7A1DAA45 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EH39RDL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXC41C08FF | 3444 | RE-4477
HDD | SEAGATE | ST1200MM0099 | WFKDZP05 | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXE7B63A01 | 6676 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EH3R9TL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX4C6E68CA | 3444 | RE-4477
HDD | HGST | H101812SFSUN1_2T | 0EH3T7GL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX7313B1A2 | 7653 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EH3R2EL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXFDC086CF | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EH3UG4L | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXC3AEAAE9 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYYH7L | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXCF163564 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYG39L | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX776A20D6 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EG5LH3M | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXA2F89C42 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EG5HXWM | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXCFB0C3E2 | 3444 | RE-4477
HDD | SEAGATE | ST1200MM0008 | W401SA33 | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | UNBB3B7369 | 15857 | RE-4477
HDD | HGST | HUC101212CSS600 | KZJ3UAAG | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | UNACD2B741 | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | KZJ3MLAG | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | UNE57E7A4F | 6675 | RE-4477
HDD | SEAGATE | ST1800MM0129 | WBN77JN6 | USED | A | 2.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXA366F1EB | 5852 | RE-4462
HDD | HGST | HUC101812CSS200 | 0EGYYZEL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX2C7BF794 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYYKKL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX6E2A4DF0 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGWB2WL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX3E466DF8 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYGDXL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXC24CEE78 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYZ43L | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX6F99F477 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYTNLL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXE09F6449 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGWB96L | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX2AFFDF55 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYYTML | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXF1D7A8C4 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EH3T2VL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX9F2FB35D | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYYH2L | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX11B6FC83 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYZ28L | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX263ABA20 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGWB1UL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXD172468A | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EH3RDNL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX7CD28686 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYYMAL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX7380EBC5 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYYWJL | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX4DE9B325 | 3444 | RE-4477
HDD | HGST | HUC101812CSS200 | 0EGYYN6L | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX8DC13BF9 | 3444 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HGDMWJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SPBF346EBE | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HEVLNJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SPAE249AD9 | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HGBM0J | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SPF8E13D83 | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HGB3DJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SPCC812705 | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HGE8DJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SPE0DF7DBB | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | KZHW65WH | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SP7CE5200D | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HEVP8J | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SP86854196 | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HESLUJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SP49E86A6E | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HG3LBJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SP7E4473FB | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HG89UJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SPA0A59D1F | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HGER0J | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SP38FB9062 | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HDSPAJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SP7D602CF7 | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HG4KGJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SP8371BF83 | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HGBNAJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SPC33F8791 | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HGT33J | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SP2EB8F4DD | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HESYYJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SP20F40E1D | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HG7VYJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SP5D7D8783 | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HEV1GJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SPFF9C925F | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HESKXJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SPB698D397 | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HEVMVJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SPA735FB04 | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HG3L8J | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SPFE39B7E6 | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HGGREJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SPFC35E03F | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HG4ADJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SP36EAF1A7 | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0JRHANK | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SP96ED0070 | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HG5NUJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SPAAFC01B4 | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0JPVM3K | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SPB0E294E7 | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0JRH7RK | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SP780982E0 | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HG9ZZJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SP7B3D7B91 | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HG8S6J | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SP3B711B4D | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HEURZJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SP0F220C32 | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0JLP2DK | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SPDB95429C | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0JRN0YK | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SP3D3F06AE | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HG7LKJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SPDA5F91BA | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HG6YNJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SPB1B7D266 | 6675 | RE-4477
HDD | SEAGATE | ST1200MM0129 | WFK97JXH | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SPD4C5E365 | 10026 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HEWP2J | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SPAD0E697C | 6675 | RE-4477
HDD | HGST | HUC101212CSS600 | L0HGNEHJ | USED | A | 2.5 inch | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | SPF8F9B40B | 6675 | RE-4477
HDD | SEAGATE | ST1200MM0099 | WFKC4ERG | USED | A |  | 2.5 SAS 10000 | 1.2TB | 1200 | PASS |  | EX8C6FF961 | 6676 | RE-4477
HDD | SEAGATE | ST1200MM0099 | WFKC5SLS | USED | A |  | 2.5 SAS 10000 | 1.2TB | 1200 | PASS |  | EX2AFC93D1 | 6676 | RE-4477
HDD | SEAGATE | ST1200MM0099 | WFKC5SMG | USED | A |  | 2.5 SAS 10000 | 1.2TB | 1200 | PASS |  | EX249CF2D3 | 6676 | RE-4477
HDD | TOSHIBA | AL14SEB120NY | 87F0A0ABFL0E | USED | A |  | 2.5 SAS 10000 | 1.2TB | 1200 | PASS |  | STE05EB25B | 9428 | RE-4477
HDD | TOSHIBA | AL14SEB120NY | 87F0A09ZFL0E | USED | A |  | 2.5 SAS 10000 | 1.2TB | 1200 | PASS |  | STBF67285A | 9428 | RE-4477
HDD | SEAGATE | ST1800MM0139 | WBN4Y2010000K1488BDG | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS |  | FI48560627 | 15465 | RE-4462
HDD | IBM | AL14SEB180P | 28Q0A19WF1CD | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS |  | FID77A41A5 | 15464 | RE-4462
HDD | SEAGATE | ST1800MM0139 | WBN4Y2N00000K1487QX1 | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS |  | FIC517E35A | 15465 | RE-4462
HDD | IBM | AL14SEB180P | 28Q0A19SF1CD | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS |  | FIEF5C1FD5 | 15464 | RE-4462
HDD | IBM | AL14SEB180P | 28Q0A1C4F1CD | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS |  | FI14654CA1 | 15464 | RE-4462
HDD | SEAGATE | ST1800MM0139 | WBN4GT3W0000K13206GB | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS |  | FIDCBBF16D | 15465 | RE-4462
HDD | IBM | AL14SEB180P | 28Q0A1CBF1CD | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS |  | FIB85CA3F1 | 15464 | RE-4462
HDD | SEAGATE | ST1800MM0139 | WBN4YAPD0000K1487S9J | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS |  | FI743AEF99 | 15465 | RE-4462
HDD | IBM | AL14SEB180P | X7J0A07FF1CD | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS |  | FICABBD6FE | 15464 | RE-4462
HDD | IBM | AL14SEB180P | X7J0A0KRF1CD | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS |  | FI21662401 | 15464 | RE-4462
HDD | IBM | AL14SEB180P | X7J0A0KGF1CD | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS |  | FI29454951 | 15464 | RE-4462
HDD | SEAGATE | ST1800MM0139 | WBN4Y21Z0000K1487TXH | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS |  | FIA5AA87D4 | 15465 | RE-4462
HDD | SEAGATE | ST1800MM0139 | WBN4YALH0000K1487Q7N | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS |  | FID34F2E09 | 15465 | RE-4462
HDD | SEAGATE | ST1800MM0139 | WBN4YAH5 | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS |  | FIF2B331FE | 15465 | RE-4462
HDD | HGST | HUC101212CSS600 | KZHTM04H | USED | A | 2.5 inch | 2.5 SAS 10000 | 1.2TB | 1200 | PASS |  | CEE210EB78 | 6675 | RE-4477
HDD | SEAGATE | ST1200MM0007 | S3L14YDT | USED | A |  | 2.5 SAS 10000 | 1.2TB | 1200 | PASS |  | HU996A07E2 | 2594 | RE-4477
HDD | HGST | HUC101818CS4204 | 08VALB5A | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | EX2C617FC4 | 13380 | RE-4462
HDD | SEAGATE | ST1800MM0168 | S3Z0QYYM | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | EX2132C2B6 | 9689 | RE-4462
HDD | SEAGATE | ST1800MM0168 | S3Z0QT2Z | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | EX64E0754A | 9689 | RE-4462
HDD | SEAGATE | ST1800MM0168 | S3Z0QZ8R | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | EX4952F730 | 9689 | RE-4462
HDD | SEAGATE | ST1800MM0168 | S3Z0QZ3J | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | EX13ABB4A3 | 9689 | RE-4462
HDD | SEAGATE | ST1800MM0168 | S3Z0QY9C | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | EX5A6F9B0C | 9689 | RE-4462
HDD | SEAGATE | ST1800MM0168 | S3Z0QYC0 | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | EX53C18376 | 9689 | RE-4462
HDD | HGST | HUC101812CS4204 | 06H752TA | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXDC78D2ED | 6948 | RE-4477
HDD | HP | EG1200FDJYT | S3L1VDBZ | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EXA0F3516D | 4540 | RE-4477
HDD | SEAGATE | ST1800MM0018 | W3Z1MR7N | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EX63DFA53C | 10649 | RE-4462
HDD | SEAGATE | ST1800MM0018 | W3Z1MR8G | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS |  | EXFFC526DA | 10649 | RE-4462
HDD | NETAPP | X425_HCBFE1T2A10 | 06H2X5HZ | USED | A |  | 2.5 SAS 10k | 1.2TB | 1200 | PASS |  | EX237BE7F1 | 14477 | RE-4477
HDD | TOSHIBA | AL14SEB18EQY | 38C0A3FKFL7E | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | REBDBB1DC3 | 14515 | RE-4462
HDD | TOSHIBA | AL14SEB18EQY | 38C0A3HJFL7E | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | RE0369F940 | 14515 | RE-4462
HDD | TOSHIBA | AL14SEB18EQY | 28P0A2URFL7E | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | RE51CDFA70 | 14515 | RE-4462
HDD | TOSHIBA | AL14SEB18EQY | 28G0A06PFL7E | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | RE81DBB539 | 14515 | RE-4462
HDD | TOSHIBA | AL14SEB18EQY | 28P0A2S9FL7E | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | RE203C01F1 | 14515 | RE-4462
HDD | TOSHIBA | AL15SEB18EQY | 8350A05SFR0F | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | RE485F76C0 | 12573 | RE-4462
HDD | TOSHIBA | AL14SEB18EQY | 38C0A3H5FL7E | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | REBBB64091 | 14515 | RE-4462
HDD | TOSHIBA | AL14SEB18EQY | 28P0A2V0FL7E | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | RE6FAE460F | 14515 | RE-4462
HDD | TOSHIBA | AL14SEB18EQY | 28P0A2RFFL7E | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | RE10E5CAFC | 14515 | RE-4462
HDD | TOSHIBA | AL14SEB18EQY | 28P0A2V1FL7E | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | RED4983C4C | 14515 | RE-4462
HDD | TOSHIBA | AL14SEB18EQY | 28P0A2RTFL7E | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | RE22267C0F | 14515 | RE-4462
HDD | TOSHIBA | AL14SEB18EQY | 38C0A290FL7E | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | REEF6427CC | 14515 | RE-4462
HDD | HP | EG001800JWJNR | WBN0WWKT | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | NR9BE608BA | 14142 | RE-4462
HDD | HP | EG001800JWJNR | WBN1BNHG | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | NRE802833B | 14142 | RE-4462
HDD | HPE | EG001800JXLWB | WBN5Y8WH | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | NR86B8E22D | 14144 | RE-4462
HDD | HP | EG001800JWJNR | WBN0ZGL0 | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | NR95FDA9EB | 14142 | RE-4462
HDD | SEAGATE | ST1800MM0129 | WBN4D278 | USED | A | 2.5inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | NRAE67C862 | 5852 | RE-4462
HDD | SEAGATE | ST1800MM0129 | WBN1BN23 | USED | A | 3.5 inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | NR6AAB0ACF | 5852 | RE-4462
HDD | HP | EG001800JWJNR | WBN12BFV | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | NRDB70E8DA | 14142 | RE-4462
HDD | HPE | EG001800JXLWB | WBN5XLZS | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | NR2F923FCA | 14144 | RE-4462
HDD | HPE | EG001800JXLWB | WBN5XF5R | USED | A |  | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | NRAF27771C | 14144 | RE-4462
HDD | HP | EG001800JWJNR | WBN0XSG7 | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | NRB8D11927 | 14142 | RE-4462
HDD | HP | EG001800JWJNR | WBN1B0JE | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | NRD9C1B6A3 | 14142 | RE-4462
HDD | HP | EG001800JWJNR | WBN4DC0B | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | NRA490525B | 14142 | RE-4462
HDD | HP | EG001800JWJNR | WBN0XSKB | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | NR08FD1F04 | 14142 | RE-4462
HDD | HP | EG001800JWJNR | WBN10ML4 | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | NR895D3E9C | 14142 | RE-4462
HDD | DELL | ST1800MM0159 | WBN5Y999 | USED | A | 2.5inch | 2.5 SAS 10000 | 1.8TB | 1800 | PASS | TRAY | NR65E5A5AE | 14220 | RE-4462
HDD | SEAGATE | ST1800MM0168 | W3Z068ZB | USED | A | 2.5inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | OX0BC6F95D | 9689 | RE-4462
HDD | SEAGATE | ST1800MM0168 | W3Z068H4 | USED | A | 2.5inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | OX3CC4A9DA | 9689 | RE-4462
HDD | SEAGATE | ST1800MM0168 | W3Z07419 | USED | A | 2.5inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | OXADF1386A | 9689 | RE-4462
HDD | SEAGATE | ST1800MM0168 | W3Z06HLB | USED | A | 2.5inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | OX3357E8A5 | 9689 | RE-4462
HDD | SEAGATE | ST1800MM0168 | W3Z06MD5 | USED | A | 2.5inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | OX37FB8948 | 9689 | RE-4462
HDD | SEAGATE | ST1800MM0168 | W3Z06LPX | USED | A | 2.5inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | OX6C6472EF | 9689 | RE-4462
HDD | SEAGATE | ST1800MM0168 | W3Z067W9 | USED | A | 2.5inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | OX2961FA7B | 9689 | RE-4462
HDD | SEAGATE | ST1800MM0168 | W3Z067YX | USED | A | 2.5inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | OX6EDFFA9C | 9689 | RE-4462
HDD | SEAGATE | ST1800MM0168 | W3Z05Z89 | USED | A | 2.5inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | OX34C9C852 | 9689 | RE-4462
HDD | SEAGATE | ST1800MM0168 | W3Z06Q91 | USED | A | 2.5inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | OX89E85D1C | 9689 | RE-4462
HDD | SEAGATE | ST1800MM0168 | W3Z06FCV | USED | A | 2.5inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | OX47FC61BA | 9689 | RE-4462
HDD | SEAGATE | ST1800MM0168 | W3Z0694V | USED | A | 2.5inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | OX246A9098 | 9689 | RE-4462
HDD | SEAGATE | ST1800MM0168 | W3Z06LTQ | USED | A | 2.5inch | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | OX9D27C9B8 | 9689 | RE-4462
HDD | HP | EG1800JEMDB | W3Z0A43D | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | OXAC7FD20A | 6713 | RE-4462
HDD | HP | EG1800JEMDB | W3Z0A48X | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | OX46E85D8A | 6713 | RE-4462
HDD | HP | EG1800JEMDB | W3Z0A86X | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | OX1C652181 | 6713 | RE-4462
HDD | HP | EG1800JEMDB | W3Z0A41B | USED | A |  | 2.5 SAS 10k | 1.8TB | 1800 | PASS | TRAY | OX06DA602B | 6713 | RE-4462