## SO-13221 - HP Servers
Attribute Set | Make | Model | Serial Number | Condition | Grade | CPU Qty | CPU | HDD Capacity | TOTAL RAM | RAM Qty | RAM Size | RAM Density | RAM Type | RAM Speed | IPMI | RAID | Optical | Power | Comments | Cosmetic Condition | Functional Condition | Data Purge | Description | Device Type | Dram | File Cleanup | License | Power Supplies | Software Version | Memory Type | Port Qty (Ethernet) | Ports (Modules) | Status (Reset) | UID | SKU | Location
Server | HP | ProLiant DL380 Gen10 | 2M293200Z1 | USED | C | 2 | GOLD 6134M |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2666V | NONE | E-208i-a | NONE | 2X1600W | [13 empty] | 2 X NVIDIA Tesla M10 GPU// 2 X 10Gb 2-port 562SFP | Factory Reset (Firmware/BIOS) | EX067F1CC0 | 770 | RE-4550
Server | HP | ProLiant DL380 Gen10 | 2M293200Z2 | USED | C | 2 | GOLD 6134M |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2666V | NONE | E-208i-a | NONE | 2X1600W | [13 empty] | 2 X NVIDIA Tesla M10 GPU// 2 X 10Gb 2-port 562SFP | Factory Reset (Firmware/BIOS) | EX9B5C6607 | 770 | RE-4550
Server | HP | ProLiant DL380 Gen10 | 2M293200Z3 | USED | C | 2 | GOLD 6134M |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2666V | NONE | E-208i-a | NONE | 2X1600W | [13 empty] | 2 X NVIDIA Tesla M10 GPU// 2 X 10Gb 2-port 562SFP | Factory Reset (Firmware/BIOS) | EXC9CAA6D8 | 770 | RE-4550
Server | HP | ProLiant DL380 Gen10 | 2M293200YW | USED | C | 2 | GOLD 6134M |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2666V | NONE | E-208i-a | NONE | 2X1600W | [13 empty] | 2 X NVIDIA Tesla M10 GPU// 2 X 10Gb 2-port 562SFP | Factory Reset (Firmware/BIOS) | EX3B39A3ED | 770 | RE-4550
Server | HP | ProLiant DL380 Gen10 | 2M293200Z0 | USED | C | 2 | GOLD 6134M |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2666V | NONE | E-208i-a | NONE | 2X1600W | [13 empty] | 2 X NVIDIA Tesla M10 GPU// 2 X 10Gb 2-port 562SFP | Factory Reset (Firmware/BIOS) | EX9E17ABA2 | 770 | RE-4550
Server | HP | PROLIANT DX380 GEN10 | 2M21410082 | USED | C | 2 | GOLD 6234 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 3200AA | NONE | E-208i-a | NONE | 2X1600W | [13 empty] | 2 X NVIDIA Tesla M10 GPU// 1 X 10Gb 2-port 562SFP | Factory Reset (Firmware/BIOS) | EX3713B5A7 | 16086 | RE-4550
Server | HP | PROLIANT DX380 GEN10 | 2M21410083 | USED | C | 2 | GOLD 6234 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2666V | NONE | E-208i-a | NONE | 2X1600W | [13 empty] | 2 X NVIDIA Tesla M10 GPU// 1 X 10Gb 2-port 562SFP | Factory Reset (Firmware/BIOS) | EX6887AE5E | 16086 | RE-4550
Server | HP | APOLLO 4200 GEN10 | MXQ92707NW | USED | B | 2 | GOLD 6248 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2933Y | NONE | P816i | NONE | 2X1600W | [13 empty] | 1 X Eth 10Gb 2-Port 562T | Factory Reset (Firmware/BIOS) | UN31020ADC | 11935 | RE-4550
Server | HP | APOLLO 4200 GEN10 | MXQ92707NT | USED | C | 2 | GOLD 6248 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2933Y | NONE | P816i | NONE | 2X1600W | [13 empty] | 1 X Eth 10Gb 2-Port 562T | Factory Reset (Firmware/BIOS) | UNE2D0A133 | 11935 | RE-4550
Server | HP | APOLLO 4200 GEN10 | MXQ92707NV | USED | B | 2 | GOLD 6248 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2933Y | NONE | P816i | NONE | 2X1600W | [13 empty] | 1 X Eth 10Gb 2-Port 562T | Factory Reset (Firmware/BIOS) | UNCA516E94 | 11935 | RE-4550
Server | HP | APOLLO 4200 GEN10 | MXQ92707NX | USED | C | 2 | GOLD 6248 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2933Y | NONE | P816i | NONE | 2X1600W | [13 empty] | 1 X Eth 10Gb 2-Port 562T | Factory Reset (Firmware/BIOS) | UNC941E9F6 | 11935 | RE-4550
Server | HP | APOLLO 4200 GEN10 | MXQ92707NS | USED | C | 2 | GOLD 6248 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2933Y | NONE | P816i | NONE | 2X1600W | [13 empty] | 1 X Eth 10Gb 2-Port 562T | Factory Reset (Firmware/BIOS) | UN43F63881 | 11935 | RE-4550
Server | HP | APOLLO 4200 GEN10 | MXQ92707NY | USED | B | 2 | GOLD 6248 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2933Y | NONE | P816i | NONE | 2X1600W | [13 empty] | 1 X Eth 10Gb 2-Port 562T | Factory Reset (Firmware/BIOS) | UN74FB6371 | 11935 | RE-4550
Server | HP | APOLLO 4200 GEN10 | MXQ92707ND | USED | C | 2 | GOLD 6248 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2933Y | NONE | P816i | NONE | 2X1600W | [13 empty] | 1 X Eth 10Gb 2-Port 562T | Factory Reset (Firmware/BIOS) | UN378C6FBB | 11935 | RE-4550
Server | HP | APOLLO 4200 GEN10 | MXQ92707N8 | USED | C | 2 | GOLD 6248 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2933Y | NONE | P816i | NONE | 2X1600W | [13 empty] | 1 X Eth 10Gb 2-Port 562T | Factory Reset (Firmware/BIOS) | UN613E399E | 11935 | RE-4550
Server | HP | APOLLO 4200 GEN10 | MXQ92707NP | USED | C | 2 | GOLD 6248 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2933Y | NONE | P816i | NONE | 2X1600W | [13 empty] | 1 X Eth 10Gb 2-Port 562T | Factory Reset (Firmware/BIOS) | UN1E774212 | 11935 | RE-4550
Server | HP | APOLLO 4200 GEN10 | MXQ92707NN | USED | C | 2 | GOLD 6248 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2933Y | NONE | P816i | NONE | 2X1600W | [13 empty] | 1 X Eth 10Gb 2-Port 562T | Factory Reset (Firmware/BIOS) | UNA7CF02C3 | 11935 | RE-4550
Server | HP | APOLLO 4200 GEN10 | MXQ92707NM | USED | C | 2 | GOLD 6248 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2933Y | NONE | P816i | NONE | 2X1600W | [13 empty] | 1 X Eth 10Gb 2-Port 562T | Factory Reset (Firmware/BIOS) | UN64DB0009 | 11935 | RE-4550
Server | HP | APOLLO 4200 GEN10 | MXQ92707NR | USED | C | 2 | GOLD 6248 |  | 64GB | 2 | 32GB | 2RX4 | PC4 | 2933Y | NONE | P816i | NONE | 2X1600W | LIGHT SCRATCH ON TOP PLATE | [12 empty] | 1 X Eth 10Gb 2-Port 562T | Factory Reset (Firmware/BIOS) | UNF6D4A485 | 11935 | RE-4550
Network Switch | HP | Bladesystem c7000 enclosure | 2M272706J4 | USED | C | [13 empty] | Missing 2 blade dividers | [8 empty] | 6 X C7000 2650W PSU Server Power Supply |  |  |  | 2X BROCADE 16Gb SAN Switch // 2 X HP VC Flex-10/10D Module | Factory Reset (Config) | UN0B34D1AC | 3414 | RE-4550
Server | HP | ProLiant BL460c Gen10 | 2M284403SW | USED | C | 2 | GOLD 6148 |  | 64GB | 2 | 32GB | 4RX4 | PC4 | 2133P | NONE | P204i | [16 empty] | Factory Reset (Firmware/BIOS) | UNAA8F7342 | 7665 | RE-4550
Server | HP | ProLiant BL460c Gen10 | 2M284303R6 | USED | C | 2 | GOLD 6134 |  | 64GB | 2 | 32GB | 4RX4 | PC4 | 2133P | NONE | P204i | [16 empty] | Factory Reset (Firmware/BIOS) | UN8C59D6C4 | 7665 | RE-4550
Server | HP | ProLiant BL460c Gen10 | 2M284403SV | USED | C | 2 | GOLD 6148 |  | 64GB | 2 | 32GB | 4RX4 | PC4 | 2133P | NONE | P204i | [16 empty] | Factory Reset (Firmware/BIOS) | UN1988973D | 7665 | RE-4550
Server | HP | ProLiant BL460c Gen10 | 2M284303Q6 | USED | C | 2 | GOLD 6134 |  | 64GB | 2 | 32GB | 4RX4 | PC4 | 2133P | NONE | P204i | [16 empty] | Factory Reset (Firmware/BIOS) | UN8CE3EC17 | 7665 | RE-4550
Server | HP | ProLiant BL460c Gen10 | 2M284303QM | USED | C | 2 | GOLD 6134 |  | 64GB | 2 | 32GB | 4RX4 | PC4 | 2133P | NONE | P204i | [16 empty] | Factory Reset (Firmware/BIOS) | UNCCB8E842 | 7665 | RE-4550