## SO-13233 - Cisco
Attribute Set | Make | Model | Serial Number | Condition | Grade | CPU Qty | CPU | HDD Capacity | TOTAL RAM | RAM Qty | RAM Size | RAM Density | RAM Type | RAM Speed | IPMI | RAID | Optical | Power | Comments | Cosmetic Condition | Functional Condition | Data Purge | Description | Device Type | Dram | File Cleanup | License | Power Supplies | Software Version | Memory Type | Port Qty (Ethernet) | Ports (Modules) | Status (Reset) | UID | SKU | Location
Network Switch | CISCO | N7K-C7010 V02 | TBM14181422 | USED | C | [22 empty] | 3 X N7K-AC-6.0KW |  |  |  | 3 X N7K-M148GT-11 // 2 X N7K-M148GT-11// 1 X N7K-SUP1 | Factory Reset (Config) | TE43F26D60 | 15906 | RE-4499
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329PA0Z | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.9.3.50,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO19E9431D | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 | FCW2312NDAP | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.3.8.21,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO25132965 | 8700 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2348P544 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.3.8.21,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOC36AB071 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2348P54G | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.3.8.21,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HODE6E7BD0 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329PA1Q | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOC5A85A15 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329P96Y | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO9783914F | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2330P629 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO69EF9E86 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2330P5QG | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOE44C6D19 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2330P5XC | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOEAAD5C06 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2330P627 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOA5A84525 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2330P62Q | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO10044E37 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2330P62D | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOC4D59000 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2330P5ZR | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOCB607D03 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2330P5Z8 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO666FAD32 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329P9VC | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOE7A73D12 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2330P5KB | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOE58E9EC4 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2330P5Z6 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO77442A01 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802E-B-K9 V03 | FJC2120M1JY | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.2.151.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO77C44449 | 10569 | RE-4421
Network Switch | CISCO | AIR-AP3802E-B-K9 V03 | FJC2120M1KK | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.2.151.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOE9F7C7E0 | 10569 | RE-4421
Network Switch | CISCO | AIR-AP3802E-B-K9 V03 | FJC2120M1K4 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.2.151.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO9B9E7F6C | 10569 | RE-4421
Network Switch | CISCO | AIR-AP3802E-B-K9 | FJC2120M1KF | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.2.151.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO291B5BA4 | 15739 | RE-4421
Network Switch | CISCO | AIR-AP3802E-B-K9 V03 | FJC2120M1KC | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.2.151.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO8BFDD385 | 10569 | RE-4421
Network Switch | CISCO | AIR-AP3802E-B-K9 V03 | FJC2120M1K0 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.2.151.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO712ECAF1 | 10569 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329P9VN | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO0E27BDAE | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329PA0S | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO408EA387 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329PA0K | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO92B40871 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329PA0Q | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOCE3ADB4B | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329P9ZV | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO692662E3 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329P9UR | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO304BF8CD | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329PA13 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO5308F1AF | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329P9VE | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO87994B93 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329P9SM | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOD26F3195 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2033N6DP | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.9.3.50,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO278EBFF6 | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2033N6BC | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.9.3.50,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO3B1FA0FD | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2032NQXT | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO91AE60C9 | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2330P5UZ | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO665145F5 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2033N4DM | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO20789587 | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2032NPPU | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO054546AF | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2032N86Q | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO0D873676 | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2330P5UN | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO451A7E80 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2033N6ED | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOCEC91698 | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2032NPH8 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO18096407 | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2330P5KW | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOC9440EF0 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2117JAB7 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOAF7A74E7 | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2032N83L | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOE0F439DD | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2033N5AH | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO1675026F | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329PA37 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO1FF12CA7 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2032NPTV | USED | C | [16 empty] | N/A | AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO05437D27 | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2032NQ0B | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOCD80CDC2 | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2032NQX7 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO287842A6 | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2032NPS2 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOEF8DADF5 | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2117JBAG | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO106321B2 | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2330P5Y5 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO38A640C4 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2033N5B0 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO021A43CA | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2117JB7K | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOBA67FA80 | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2330P5WS | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO4BF08795 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2330P5VB | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOA96300ED | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2032NQXB | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO33EB2905 | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2032N4SW | USED | C | [16 empty] | N/A | AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOA6A31D8F | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2032NQX5 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO42CBF3B3 | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2032NPUS | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOEEC2F910 | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2330P5ZM | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO8FF0B2FE | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2330P5V2 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO843293A4 | 8675 | RE-4421
Network Switch | CISCO | AIR-AP3802E-B-K9 V03 | FJC2120M1KT | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.2.151.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOD01FE209 | 10569 | RE-4421
Network Switch | CISCO | AIR-AP3802E-B-K9 V03 | FJC2120M1KG | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.2.151.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOE99574B9 | 10569 | RE-4421
Network Switch | CISCO | AIR-AP3802E-B-K9 V03 | FJC2120M1JZ | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.2.151.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO6A981B8C | 10569 | RE-4421
Network Switch | CISCO | AIR-AP3802E-B-K9 V03 | FJC2120M1KQ | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.2.151.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO23CEC38B | 10569 | RE-4421
Network Switch | CISCO | AIR-AP3802E-B-K9 V03 | FJC2120M1K8 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.2.151.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO4CFAA556 | 10569 | RE-4421
Network Switch | CISCO | AIR-AP3802E-B-K9 V03 | FJC2120M1KS | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.2.151.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO3E52FA78 | 10569 | RE-4421
Network Switch | CISCO | AIR-AP3802E-B-K9 V03 | FJC2120M1KL | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.2.151.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO11B52D40 | 10569 | RE-4421
Network Switch | CISCO | AIR-AP3802E-B-K9 V03 | FJC2120M1KM | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.2.151.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO3B299374 | 10569 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2033N5D4 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.10.181.0,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOF1F226FC | 8862 | RE-4421
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2127JQ25 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.182.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | OXBE439D80 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2316NKQN | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.3.143.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | WI0B15CD51 | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2313N3CR | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.151.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | WIC15CE419 | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2316N5M2 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.151.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | WI8D4A4B72 | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V04 | FJC2419M19A | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.9.4.27,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | EX2557F03C | 8699 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 | FCW2033N58Z | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.2.141.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOC0E1B3BC | 8700 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2033N5D5 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.2.141.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO6A1E7456 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329PA0W | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.9.3.50,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOFE0E4B8A | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329PA15 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.9.3.50,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO01CF3844 | 8675 | RE-4443
Network Switch | CISCO | AIR-AP2802I-B-K9 V03 | FCW2335PDGY | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.9.7.16,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | ME3ABB4293 | 12216 | RE-4443
Network Switch | CISCO | AIR-AP2802I-B-K9 V03 | FCW2335PDFJ | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.9.7.16,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | ME67F8184A | 12216 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2110N3Q3 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE2B42200A | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NHU8 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE31EB1348 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NHKE | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE960AE569 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NJM5 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TEB7D5D14F | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NHNY | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TEE42FFC8F | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NHNR | USED | C | [16 empty] | N/A | Lightweight AP, ,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TEC51117E8 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NHPT | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE98050530 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NHKF | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TEAFB018F6 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NHML | USED | C | [16 empty] | N/A | Lightweight AP, ,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TEF6AB1BA4 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NHKJ | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TEDFC60E3D | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NHKG | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE9D6A007A | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2124J1EB | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio0 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE707AD450 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2124J2KH | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TEBAE74F41 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2032NMHC | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.3.8.21,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO2684B2C0 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2119JNPA | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.3.8.21,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO5757647F | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2312NDAA | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.3.8.21,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOA703705B | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2119JML5 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.3.8.21,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOD760778D | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329Q3M0 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO41C639FF | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329Q3N1 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO4511549A | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329Q41E | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOD9B144EA | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329Q3ZY | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO904AD309 | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329Q42Q | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO3FF4E8C4 | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329Q3NQ | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOE0D136B9 | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329Q3YZ | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO747A72EB | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329Q3M9 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOB2F18485 | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329Q42Y | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO540139D6 | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329Q3YT | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOE724A4BA | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329QAAH | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOCD6CB8F8 | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329P96J | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO1AB36D8B | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329QAAG | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOE9AEC1F1 | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329PA0U | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO49FEBA90 | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329QAAW | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO0DE6F2FF | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329QAB9 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HO8D078B58 | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329QAAQ | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOAB17A1FC | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V03 | FCW2329QAAP | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 8.5.140.0 | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | HOFD168E8C | 8675 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2110N3KN | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE996C0173 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NLHA | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE6A961408 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NLGM | USED | C | [16 empty] | N/A | Lightweight AP, ,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TEE0A6230A | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2110N3LU | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TEFBDABCF8 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NLGR | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TEF4EFD3D3 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V02 | FCW2214N1YE | USED | C | [16 empty] | N/A | Lightweight AP, ,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE9CA9C397 | 8570 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V02 | FCW2222NJ7J | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE55BBEE3D | 8570 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V02 | FCW2214N1Z7 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TEFD899A78 | 8570 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NLAZ | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE5D07D837 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2124J2LF | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE192A933E | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2124J1X2 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE91087FD8 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2124J0RU | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE0656D4AB | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2124J19V | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE832DE85D | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V02 | FCW2214N1YC | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TECAE40E82 | 8570 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NHP4 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE84C86FF8 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2124J1KS | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE279CA3E9 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NLGH | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE0610117E | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NHPM | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE4AEB15BA | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NHMZ | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE0CC737EB | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NHPZ | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE1982ADC1 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NHPF | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE8E06DF9F | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NHE5 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE0126D6F0 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NHJ7 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TEFA36B9B3 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NJLF | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio0 is up,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE51ED8438 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NHE8 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TE90063671 | 8862 | RE-4443
Network Switch | CISCO | AIR-AP3802I-B-K9 V01 | FCW2109NHN0 | USED | C | [16 empty] | N/A | Lightweight AP, ,AP Image 17.12.3.31,Dot11Radio1 is up | Access Point | dram | N/A | [6 empty] | Factory Reset (Config) | TEB817B56F | 8862 | RE-4443
Network Switch | CISCO | N7K-C7010 V02 | TBM14169945 | USED | C | [22 empty] | 3 X N7K-AC-6.0KW |  |  |  | 3 X N7K-M148GT-11 // 2 X N7K-M148GT-11// 1 X N7K-SUP1 | Factory Reset (Config) | TEAA33031D | 15906 | RE-4499